NP SERIES 12V

Valve Regulated Lead Acid (VRLA) Batteries

- Non – Spillable

- Sealed and Maintenance-Free Battery

- High Quality and High Reliability

- Absorbent Glass Matt (AGM) Technology

- 13.5V to 13.8V Standby Voltage

- Computer - Aided Design and Manufacturing

- CE Approved

| Model | Nominal Voltage | Rated Capacity | Approx. Dimension （mm） |  |  | Terminal type |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Length | Width | Height |  |
|  |  |  | ±3 | ±3 | ±3 |  |
| NP12-7AH | 12VDC | 7AH | 151 | 65 | 95 | T1/T2 |
| NP12-9AH | 12VDC | 9AH | 151 | 65 | 95 | T1/T2 |
| NP12-12AH | 12VDC | 12AH | 151 | 98 | 95 | T1/T2 |
| NP12-18AH | 12VDC | 18AH | 181 | 77 | 167 | T3/T12 |
| NP12-26AH | 12VDC | 26AH | 166 | 175 | 125 | T4/T12 |
| NP12-40AH | 12VDC | 40AH | 197 | 165 | 170 | T14 |
| NP12-55AH | 12VDC | 50AH | 230 | 138 | 211 | T14 |
| NP12-65AH | 12VDC | 65AH | 350 | 166 | 179 | T14 |
| NP12-80AH | 12VDC | 80AH | 260 | 169 | 211 | T14 |
| NP12-90AH | 12VDC | 90AH | 306 | 169 | 211 | T14 |
| NP12-100AH | 12VDC | 100AH | 330 | 171 | 214 | T16 |
| NP12-120AH | 12VDC | 120AH | 409 | 176 | 225 | T16 |
| NP12-150AH | 12VDC | 150AH | 485 | 172 | 240 | T16 |
| NP12-200AH | 12VDC | 200AH | 522 | 238 | 218 | T18 |
| NP12-250AH | 12VDC | 250AH | 521 | 269 | 220 | T18 |

Exclusive Distributor

AUTOMATION SPECIALISTS AND POWER EXPONENTS, INC.

ASPEX Bldg., 159 Boni Avenue, Brgy. Plainview, Mandaluyong City

Trunk line: (02) 8997-0000   Fax: (02) 8532-7228

www.aspexinc.com.ph